Isotopes protocol

- Materials

  - Drying oven (60°C)

  - Desiccator

  - Silver capsules

  - Tin capsules

  - Tweezers

  - Scoop

  - Flat bottom 96-well plates

  - Analytical balance (0.0001 g)

  - Lyophilized coral host and algae samples

  - Hydrochloric acid (6N)

    - Most HCl is a 37% solution which is 12N so dilute by ½

    - Using a serological pipette, add 5mL of MilliQ water to a glass scintillation vial. Then, add 5mL of HCl to the same vial. This will produce an exothermic reaction, making the glass vial feel warm. Wait for it to cool before using.

- Protocol for lyophilized coral samples

  - If desiccant in desiccator has been sitting for a long time, or has been used for 1 month consistently, put in drying oven at 120°C for 4 hours using aluminum foil tray.

  - Obtain three flat bottom 96-well plates

    - Label them as “weighing plate”, “acidifying plate”, and then label the final plate with a detailed label with your project information, name, date, etc. on the lid and the side. Place this well-labeled plate in the desiccator and tape the sides shut.

  - Obtain lyophilized coral samples. If they have been in the freezer or sitting out, place them in the drying oven at 60°C for at least 24hrs to make sure they are completely dry.

  - Put your “weighing plate” on the scale. Zero the scale.

  - Place a silver (Ag) capsule in a well in the middle and record capsule weight (ag_capsule_mg). Zero the scale.

  - Sterilize any tools you will be using with 70% ethanol/kimwipes

  - Using a small scoop/spatula, scrape the sides/bottom of your tube with lyophilized sample, smushing it into a finer powder, especially if it is in flakes

  - Scoop ~5mg of sample into the capsule. Record sample weight (sample_mg)

    - This part can be tricky, especially if there is static etc. and you may need two scoops/spatulas

    - How much sample you want will vary by institution and how much you lose during acidification – we shouldn’t be losing much since there should be negligible coral skeleton in our sample, so 5mg should be more than enough.

  - After weighing, using tweezers, carefully move capsule with sample into the “acidifying plate”. Record tray location in spreadsheet (acid_tray_location)

    - E.g. A1, A2, etc.

  - Add 10μL of 6N HCl to remove inorganic carbonates. If sample bubbles, add an additional 10μL until bubbling ceases (this tells you that you should have removed all inorganic carbonates). Be careful to wet the entire sample during this step.

  - Put acidifying plate into the fume hood overnight-24hrs to evaporate

  - After 24hrs, put acidifying plate into the drying oven at 60°C for 24hrs to ensure that samples are dry

  - Re-weigh acidified samples and record weight (acid_capsule_mg). Subtract your capsule weight (ag_capsule_mg) from this weight (acid_capsule_mg) to calculate your final sample weight (acid_sample_mg).

    - You will submit these final sample weights to the isotope facility.

  - Seal the foil packet with tweezers and fold it into a small ball. See video for method: https://www.youtube.com/watch?v=VfF6yuiKWrA

  - Place folded capsule into a tin capsule and refold (same as above video).

    - See here for encapsulation tips and what it should look like: https://stableisotopefacility.ucdavis.edu/encapsulation-tips-carbon-and-nitrogen-solids

    - I often will roll the sample around between my gloved fingers to make sure it’s in a nice ball at the end.

    - Make sure it is not “leaking” any sample – if it is, take it out of the tin capsule and re-wrap it better

    - Don’t touch with fingers when in Ag capsule!

  - Place sample into final labeled plate, record location in tray (final_tray_location). Re-tape plate

  - Place plate back in desiccator until all samples are filled and you are ready to ship.

  - Once ready to ship, fill out the form on the Cornell isotope (COIL) website: https://cobsil.cornell.edu/submitasample/sample-request-form/

  - Ship samples according to directions on the COIL website.

Info on sample prep from other resources:

Cornell: https://cobsil.cornell.edu/servicesandsamples/solid-sample-prep/

UC Davis: https://stableisotopefacility.ucdavis.edu/sample-preparation-carbon-and-nitrogen-solids

- Protocol for filtered water/coral

  - If desiccant in desiccator has been sitting for a long time, or has been used for 1 month consistently, put in drying oven at 120°C for 4 hours using aluminum foil tray.

  - Obtain filters. If they have been in the freezer or sitting out, place them in the drying oven at 60°C for at least 24hrs to make sure they are completely dry.

  - Weigh your filters. Subtract this weight from your initial weight.

  - Using your filter weight, calculate how much “stuff” you have on the filter. Use this to calculate how much filter you should send:

    - xmg of "stuff"/xmg of "filter + stuff" = 3.5mg "stuff"/xmg of "filter+stuff"

    - Example: we have 4 filters with sample weights ranging from 58-79mg (~330mg pre-filtration weight and ~400mg post filtration and drying). Aim for ~30mg of filter + stuff. This would hopefully give us ~5mg of stuff. My calculation: ~60mg stuff/400mg filter + stuff = 5mg stuff/Xmg filter + stuff -> ~30mg. Send duplicate or triplicate samples per filter.

    - Notes from emailing with Kim (at Cornell Isotope): We usually cut the filters up like a pie and take ’slices’ to get the desired weight. It’s always a guessing game with filters, but I like your math. 5mg is good if it is a mix of organic and inorganic material. If you feel like the 5mg is all organic maybe decrease to 3.5mg ish.

  - Get a few pieces of sterile/combusted tinfoil and kimwipes to act as your working surface.

  - Sterilize a razor blade and any tools you will be using with 70% ethanol/kimwipes

  - Cut the filter into “pie slices” to get the desired weight based on your calculations above. Start by cutting it in quarters, and then a smaller slice from one quarter.

    - E.g. ¼ of a 400mg filter will be ~100mg. Then cut a ~30mg slice out of that piece.

    - Avoid any large “chunks” and only use areas where it looks homogenous across the filter.

  - Weigh your filter slice on a piece of sterile/combusted tinfoil, trimming down until you have achieved close to (within 5mg) your target weight.

  - Once you have achieved your correct weight, cut your filter slice into a few small pieces that will fit inside a capsule.

  - Record replicate information in sample ID for filters!!

  - Put your “weighing plate” on the scale. Zero the scale.

  - Place a silver (Ag) capsule in a well in the middle and record capsule weight (ag_capsule_mg). Zero the scale.

  - Using tweezers, take all the pieces of your filter slice and put them into your silver capsule.

  - After weighing, using tweezers, carefully move capsule with sample into the “acidifying plate”. Record tray location in spreadsheet (acid_tray_location)

    - E.g. A1, A2, etc.

  - Repeat steps vii-xiv to cut 3 slices per filter as triplicate samples from different areas around the filter.

  - Add 10μL of 6N HCl to remove inorganic carbonates. If sample bubbles, add an additional 10μL until bubbling ceases (this tells you that you should have removed all inorganic carbonates). Be careful to wet the entire sample during this step. For filters since they are bigger you might need a bit more, adjust as needed.

  - Put acidifying plate into the fume hood overnight-24hrs to evaporate

  - After 24hrs, put acidifying plate into the drying oven at 60°C for 24hrs to ensure that samples are dry

  - Re-weigh acidified samples and record weight (acid_capsule_mg). Subtract your capsule weight (ag_capsule_mg) from this weight (acid_capsule_mg) to calculate your final sample weight (acid_sample_mg).

    - You will submit these final sample weights to the isotope facility.

  - Seal the foil packet with tweezers and fold it into a small ball. See video for method: https://www.youtube.com/watch?v=VfF6yuiKWrA

  - Place folded capsule into a tin capsule and refold (same as above video).

    - See here for encapsulation tips and what it should look like: https://stableisotopefacility.ucdavis.edu/encapsulation-tips-carbon-and-nitrogen-solids

    - I often will roll the sample around between my gloved fingers to make sure it’s in a nice ball at the end.

    - Make sure it is not “leaking” any sample – if it is, take it out of the tin capsule and re-wrap it better

    - Don’t touch with fingers when in Ag capsule!

  - Place sample into final labeled plate, record location in tray (final_tray_location). Re-tape plate

  - Place plate back in desiccator until all samples are filled and you are ready to ship.

  - Once ready to ship, fill out the form on the Cornell isotope (COIL) website: https://cobsil.cornell.edu/submitasample/sample-request-form/

  - Ship samples according to directions on the COIL website.